Conway Village Fire District

A Village District in the Town of Conway, NH

128 West Main Street. Conway, NH 03818

Phone: 447-5470; Fax: 447-3271; Web: www.cvillagefd.com

This Institution is an Equal Opportunity Provider

WASTEWATER CONNECTION PERMIT APPLICATION

Property Owner Information:

Name:  _________________________________________________

Mailing Address: ________________________________________

Town/State/Zip:  _________________________________________

Phone Number:  _________________________________________

Property Information:

Street Address:  __________________________________________

Map/Parcel Numbers:  _________________ / ___________________

Type of Project: (please check one)

New Construction____            Existing Structure____

Type of Structure: (please check one)

Residential____                             Commercial____

Construction Material/Information: (please refer to attached spec. sheet)

Pipe size:  4” ____      6” ____    Other____ (please explain in description)

Plastic/PVC____     SCH 40____   SDR 35 ____   Other ____(please explain in description)

Lift Pumps/Grinding Station(s)_____ Other ______ (please explain in description)

Brief Description of Project:  _____________________________________________________

______________________________________________________________________________
*Industrial Connections: Please provide cover sheets for all MSDS data (Continual updates to the District is required)

Please provide a detailed drawing indicating pipe layout including pertinent locations of clean-outs, intersecting lines, elevation, etc. and  attach to application.

Have you applied for a building permit with the town?    YES__ NO___ (if yes date of application ___________)

Number of living units/business offices after completion of project _____________________

Number of bathrooms after completion of project _____________________

Have you read the Conway Village Fire District Rules & Regulations (available on our website under the Board page, and the Sewer page.        Yes______ No_____

By signing this document, you acknowledge that you have read and will abide by the CVFD Sewer, and General District Rules & Regulations.

Prior to backfill, all construction must be inspected by a Conway Village Fire District certified inspector.

CVFD Inspector signature: _________________________________________________

Owner/Contractor agrees to abide by general construction and plumbing standards recognized by the Conway Village Fire District which includes, but is not limited to, NHDES Backflow/Cross Connection Protection, BOCA Plumbing Construction Standards, including Pressure Reducing Regulations, and the CVFD Water, Sewer, and General District Rules and Regulations.

There is a connection fee of $2,300.00 that must be paid prior to commencement of any service.

By signing below, the property owner acknowledges that he/she is responsible for any charges incurred at this property regarding water and sewer and that they and/or the contractor  have read and understand Article XVII of the District Sewer Rules & Regulations (attached).– Building Sewers and Connections

____________________________________________

Printed Applicant Name

_____________________________________________        ______________

Applicant Signature                                                                  Date

Approved by Superintendent

____________________________________________         ________________

Superintendent’s Signature	                                                 Date

Office Use only

Payment of Connection Fee collected _________________________________

Service commencement date__________________

9/2023

# Article XVII - Building Sewers and Connections

- No person(s) shall uncover, make any connections with or opening into, use, alter, or disturb any public sewer or appurtenance thereof without first obtaining a written permit from the District.  After the Applicant has complied with the requirements of these rules and regulations set forth herein, the District shall issue the permit to the Applicant.

- There shall be two (2) classes of building sewer permits:

  - Residential/Commercial: users producing only domestic wastewater or 50 population units (5,000 gallons/day)

  - Industrial users: users who may be required to provide results of periodic tests upon request of the District. These tests shall be conducted at the user’s expense.

- Applications for sewer service must be made in writing on the form provided at the District Office. An acceptance by the Superintendent shall constitute a contract between the District and the applicant, obligating the customer to pay the established rates and charges and to comply with the rules and regulations. The permit application shall be supplemented by any plans, specifications, or other information considered pertinent in the judgment of the District. A Connection Fee for new construction shall be paid to the District at the time of application. At least half must be paid at the time of application with the remaining balance to be paid prior to commencement of service. Permits shall not be transferred or reassigned.

- Application for sewer service will be accepted from the owner of the premises only.

- All costs and expenses incidental to the installation and connection of sewer line shall be borne by the owner(s).  The owner(s) shall indemnify and hold harmless the District from any loss or damage that may directly or indirectly be occasioned by the installation of the sewer line when the owner(s) or their agents perform such work.

- A separate and independent sewer line shall be provided for every building; except where one building stands at the rear of another on an interior lot and no private sewer is available or can be constructed to the rear building through an adjoining alley, court, yard, or driveway, the front building sewer line may be extended to the rear building and the whole considered as one sewer line, but the District does not and will not assume any obligation or responsibility for damage caused by or resulting from any such single connection aforementioned.

- Sewers lines may, at the discretion of the District, be used in connection with new buildings only when they are found, after examination and testing by the District, to meet all requirements of these Rules and Regulations.

- The size, slope, alignment, materials of construction of a sewer line, and the methods to be used in excavating, placing of the pipe, jointing, testing, and backfilling the trench, shall all conform to the requirements of the building and plumbing code or other applicable rules and regulations of the District, Town of Conway, and/or the State and shall be noted on the submitted plans. In the absence of code provisions or in amplification thereof, the materials and procedures set forth in appropriate specifications of the ASTM, WEF Manual of Practice No. 9, and/or Division Standards of Design for Sewerage and Wastewater Facilities shall apply. In addition, 6-inch diameter at grade cleanouts shall be required at the property line, the structure, and street connection and every 200 feet of the connection whenever the connection exceeds 100 feet from the street to the structure.

- Whenever possible, the sewer line shall be brought to the building at an elevation below the basement floor. In all buildings in which any building drain is too low to permit gravity flow to the public sewer, sanitary sewage carried by such building drain shall be lifted by means approved by the District and discharged to the building sewer at the owner's expense.

- No person(s) shall make connection of roof downspouts, foundation drains, areaway drains, sump pumps, or other sources of surface runoff or groundwater to a building sewer or building drain which in turn is connected directly or indirectly to a public sanitary sewer.

- The connection of the sewer line into the public sewer shall conform to the latest editions of the requirements of the building and plumbing code, State of New Hampshire regulations Env-Ws 700, or other applicable rules and regulations of the District, or the procedures set forth in appropriate specifications of the ASTM, ASCE manuals of engineering practice, WEF Manual of Practice No. 9 or No. FD-5, and/or Division Standards of Design for Sewerage and Wastewater Facilities. All such connections shall be made gastight and watertight and verified by proper testing.  Any deviation from the prescribed procedures and materials must be approved by the District before installation.

- The Applicant for the sewer connection permit shall notify the District when the sewer line is ready for inspection and connection to the public sewer. The connection and testing shall be made under supervision of the District.

- All excavations for sewer line installation shall be adequately guarded with barricades and lights so as to protect the public from hazards.  Streets, sidewalks, parkways, and other public property disturbed in the course of the work shall be restored in a manner satisfactory to the District at the owner's expense when the owner(s) or their agents perform such work.

- Any person proposing a new discharge into the system or an increase in the volume, beyond limits previously permitted, or in the strength or character of pollutants that are discharged into the system, shall make application to the District for a modification of their permit at least sixty (60) days prior to the proposed change or connection.  No person shall operate with such an increase or change without first having applied for and received a modification to their permit.

- Proposed new discharges from residential or commercial sources involving loading exceeding 50 population equivalents (5,000 gpd), any new industrial discharge or any alteration in either flow or waste characteristics in industrial discharge shall require prior approval by the District and the Division.