Conway Village Fire District

A Village District in the Town of Conway, NH

128 West Main Street. Conway, NH 03818

Phone: 447-5470; Fax: 447-3271; Web: www.cvillagefd.com

This Institution is an Equal Opportunity Provider

WATER CONNECTION PERMIT APPLICATION

Property Owner Information:

Name:  _________________________________________________

Mailing Address: ________________________________________

Town/State/Zip:  _________________________________________

Phone Number:  _________________________________________

Property Information:

Street Address:  __________________________________________

Map/Parcel Numbers:  _________________ / ___________________

Type of Project: (please check one)     New Construction____            Existing Structure____

Type of Structure: (please check one)  Residential____                       Commercial____

Construction Material/Information: (please refer to attached spec. sheet)

Pipe size:  3/4”____     1”____      2”____     4”____   6”____   Other____ (please explain in description)

Plastic/CTS____     Copper____   Ductile Iron Pipe ____   Other ______ (please explain in description)

Brief Description of Project:  _____________________________________________________

______________________________________________________________________________

Please provide a legible drawing indicating pipe layout including pertinent locations, intersecting lines, elevation, etc. and attach to application if plans have not been submitted to Superintendent.

Have you applied for a building permit with the town?    YES__ NO___ (if yes date of application ___________)

Number of living units/business offices after completion of project _____________________

Number of bathrooms after completion of project _____________________ Please complete the attached “Fixture Count” worksheet and attach to application.

Have you read the Conway Village Fire District Rules & Regulations (available on our website under Water page, Board page, and the Sewer page.        Yes______ No_____

By signing this document, you acknowledge that you have read and will abide by the CVFD Water, Sewer, and General District Rules & Regulations.

Prior to backfill, all construction must be inspected by a Conway Village Fire District certified inspector.

CVFD Inspector signature: _________________________________________________

Owner/Contractor agrees to abide by general construction and plumbing standards recognized by the Conway Village Fire District which includes, but is not limited to, NHDES Backflow/Cross Connection Protection, BOCA Plumbing Construction Standards, including Pressure Reducing Regulations, and the CVFD Water, Sewer, and General District Rules and Regulations.

There is a connection fee of $1,000.00 that must be paid prior to commencement of any service.

. By signing below, the property owner acknowledges that he/she is responsible for any charges incurred at this property regarding water and sewer and that they and/or the contractor  have read and understand Article XIV of the District Water Rules and Regulations – Building A Water Service Connection.

____________________________________________

Printed Applicant Name

_____________________________________________        ______________

Applicant Signature                                                                  Date

Approved by Superintendent

____________________________________________         ________________

Superintendent’s Signature	                                                 Date

Office Use only

Payment of Connection Fee collected _________________________________

Service commencement date__________________

9/2023

|  | RESIDENTIAL |  | COMMERCIAL PROPERTIES WITH |
| --- | --- | --- | --- |
|  | Fixture Type | # of Fixtures |  | DISTINCT NEEDS SHOULD |  |
|  | Bathtubs |  |  | SPEAK WITH THE SUPERINTENDENT |
|  | Bathroom Sinks |  |  |  |  |  |  |
|  | 3/8" conn. |  |  |  |  |  |  |
|  | 12" conn. |  |  |  |  |  |  |
|  | Shower heads |  |  |  |  |  |  |
|  | Toilets |  |  |  |  |  |  |
|  | Flush valve |  |  |  |  |  |  |
|  | wall flush valve |  |  |  |  |  |  |
|  | Urinals |  |  |  |  |  |  |
|  | Pedal flush valve |  |  |  |  |  |  |
|  | Tank type |  |  |  |  |  |  |
|  | Kitchen sinks |  |  |  |  |  |  |
|  | 1/2" conn. |  |  |  |  |  |  |
|  | 3/4" conn. |  |  |  |  |  |  |
|  | Dishwasher |  |  |  |  |  |  |
|  | 1/2" conn. |  |  |  |  |  |  |
|  | 3/4" conn. |  |  |  |  |  |  |
|  | Washing machine |  |  |  |  |  |  |
|  | 1/2" conn. |  |  |  |  |  |  |
|  | 3/4" conn |  |  |  |  |  |  |
|  | 1" conn |  |  |  |  |  |  |
|  | Utility/Laundry sink |  |  |  |  |  |  |
|  | 1/2" conn. |  |  |  |  |  |  |
|  | 3/4" conn. |  |  |  |  |  |  |
|  | Exterior spigot |  |  |  |  |  |  |
|  | 1/2" conn. |  |  |  |  |  |  |
|  | 3/4" conn. |  |  |  |  |  |  |

# Article XIV. Building a Water Service Connection

## Applying for Water Service

Applications for water service must be made in writing on the forms provided at the Fire District Office. An acceptance by the District shall constitute a contract between the District and the applicant, obligating the customer to pay the established rates and charges and to comply with the rules and regulations.

The District reserves the right to determine the size and the location of any proposed water service.

Applications will be subject to there being an existing main pipe in the street or right-of-way abutting the premises to be served. Acceptance shall in no way obligate the District to extend its mains to service the premises.

Application for water service will be accepted by the District from the owner of the premises only.

The District will be able to require that any new water or replacement service must have an approved ball-type shutoff valve installed at the owner’s at his expense. The corporation, service pipe, curb stop, or property valve, rod and box will be furnished and installed by the District and will remain the property of the District.

## New Construction

- A Building Permit Application from the Town of Conway must be reviewed and signed by the Superintendent and Fire Chief prior to construction.

- The owner of the property or their licensed plumber is required to contact the District and obtain, complete, and submit a Water Connection Application or Change of use Application.

- All work performed must be inspected by a District employee before backfilling is done.

- Meter purchase invoice and connection fees must all be paid in full before service will commence.

## Alteration of Property Piping

- No customer shall install any additions or alterations of any service pipes or private property plumbing additions or deletions without first notifying the District of the proposed changes.

- The owner of the property or their licensed plumber is required to contact the District and obtain, complete and submit a Water Connection/Report of Change of Use Application.

- A Building permit and/or zoning application from the Town of Conway stating change and approval from Town must be reviewed and signed off by the Superintendent and Fire Chief.

  - Additional Connection fees may apply if additional services are required.

  - Additional Demand Fees may apply if additional meters are installed.

- All work performed must be inspected by a District employee before backfilling is done.

- All invoices and connection fees must be paid in full before service will commence.

## Installation, Ownership, and Maintenance

All service pipes, including the curb stop, shall be owned by the District; from the limits of the curb stop to the property will be owned by the property owner. Any maintenance from the curb stop to the property must be performed by the owner or agent.

Any defects in the installation or workmanship of the customer’s line that are found not to be in accordance with accepted District standards will be corrected; failure to do so in a timely manner will result in the water service being terminated after proper written notice.

All service pipes between the curb stop and the property will have a minimum ground cover of six feet or equivalent insulation. In the event that a line is less than 6 feet deep, appropriate insulation materials will be used to avoid freezing.

## Repair or Replacement of Service

The District will, if when making repairs or investigating any loss of water service, replace an existing service from the main pipe, up to and including the curb stop, if it appears to the Superintendent that it is the best way to alleviate the problem. However, if any customer feels that their water services should be replaced, the customer will be required to pay whatever costs are realized in the replacement of same.

Installation for replacement service will include all or part of the following list:

- Tapping the main, if necessary

- Appropriately sized pipe and service tap from main to the curb stop

- Curb stop at or near the property line

- Appropriate excavation and restoration

## Material Specifications

METERS

- For single family homes, a T10 Neptune 5/8” meter with a re-setter, a check valve, and a shut-off installed by District specifications – purchased through the District.

- For other than single family homes, the District will perform a meter size evaluation to determine the appropriate meter size.

- Each meter will have a radio reader attached to the meter purchased through the District.

- Once meter is installed, A District employee must inspect the hook up.

- It is strongly recommended that an expansion tank be installed on the incoming cold-water line after the meter (interior plumbing side). It is also recommended that a pressure reducer be installed as well.

- This work must be done by a plumber as the District staff are not licensed plumbers.

- The District will only be responsible for the meter itself. All components around the meter are the property owner’s responsibility.

WATER MAINS

Pipes:

- Pipe shall meet or exceed current AWWA C151 specifications for Ductile Iron pipe.  Maximum length twenty (20) feet.

- Double cement lining, seal coating inside and bituminous outside coating shall meet or exceed AWWA C104.

- Push-on joints confirming to current AWWA 111.

- Pipe to be furnished complete with gaskets and lubricant.

- Certificate of Compliance to above-mentioned specifications must be supplied with shipment.  Certificates must be notarized by Notary Public or Justice of Peace.

- Class 52 required to size (6) through twenty-four (24) inch diameters.

Valves:

- For size six (6) through twelve (12) inch, valves shall be resilient seated with non-rising stem and conform to or exceed current AWWA C509 specifications.

- Directions to open – left

FITTINGS

- Fittings shall be Ductile Iron with mechanical joints and accessories and shall conform to or exceed current AWWA C113.

- Fitting to be new, unused and free from rust, coated and cement lined.

  - Ductile Iron – Class 350

  - Mechanical joints and accessories shall meet AWWA C111

  - Double cement lining, inside seal coating and bituminous outside coating shall meet AWWA C104.

VALVE BOXES

- Base:	48 inches

- Top:	5-1/4” x 36” with top flange (screw type not acceptable)

- Cover:	Marked “water”

- Only two-piece boxes acceptable

- Acceptable makes and models (American or Canadian made)

  - Standard valve box with top flange and belled base section, slide type

RESTRAINED JOINTS

- Retainer glands shall be used to restrain joints as necessary.

- Thrust blocks are acceptable behind hydrants and all ductile bends more than 11 degrees.

- Anchor tees are acceptable for use on hydrant branches to retain the hydrant branch valve.

- All retaining glands shall be U.L. approved and meet or exceed AWWA C111.

WATER SERVICE LINES

Plastic:

- Tubing shall be CTS (copper tube size) polyethylene (ASTM #2239).  Plastic tubing shall be a minimum 250 lb. class.  Compression fittings with stainless steel inserts shall be used.

Brass:

- All brass fittings shall meet or exceed AWWA C800 specifications.

- Acceptable manufacturers:  Mueller, Ford, and MacDonald

- Must be no lead

SERVICE FITTINGS

¾” and 1” Fittings

- All corporation threads shall be “CC” on the inlet and “CPPJ” on the outlet thread.

- All curb stops shall be ball valves.

2” Fittings

- All corporation threads shall be “CC” on the inlet and “CPPJ” on the outlet.

- All corporation and curb stops shall be ball valves.

CURB BOXES

- Erie style standard service box, appropriate length plug cover or two-hole cover.

- Appropriate size (single piece) rod, 1” upper shaft

HYDRANTS

- Acceptable make and model:  American Darling B84B

Features:

- Direction to open – left

- Breakable flange (traffic model)

- Valve opening at 5-1/4”

- 2 – 2 ½” NST hose nozzles

- 1 – 4 ½” NST pumper nozzle

- Operating nut and nozzle caps – NS #7 pentagon

- Depth as needed to meet grade

- Six (6) inch mechanical joint connection with accessories for 6.90 O.D.  Ductile Iron pipe

- Drain hole “Plugged”

- Shall meet or exceed C502

The Conway Village Fire District reserves the right to require a sample for evaluation of any supplied item.  Alternative items shall receive prior approval of the Superintendent and/or Water Department Foreman.  In any case, the Conway Village Fire District reserves the right to accept or reject any material to be used.

## Safeguarding Direct Pressure Water Devices & Systems Supplied by Automatic Feed Valves

All customers, having direct pressure water devices, including but not limited to hot water tanks, or secondary systems supplied by automatic feed valves shall have installed and maintained in the operating condition appropriate vacuum, temperature, and pressure relief valves or cutouts in the water system and/or secondary system or their appurtenances should it become necessary to shut off the water main or service or should a pressure failure occur for any other reason. Water service supplied to any customer not providing such protective devices will be strictly at the risk of the customer, and the Conway Village Fire District will not be held liable for damage resulting from the lack of or failure of such protective devices.

The Conway Village Fire District shall not be liable for damages to any hot water tank or direct pressure devices on the customer’s premises.

In cases requiring an immediate shut down of main piping due to emergency situations, the Conway Village Fire District shall make reasonable attempt to notify its customers, but lack of notification shall not cause Conway Village Fire District to be liable for damage of equipment inside the customer’s facility.

## Fluctuation of Pressures by Customer’s Apparatus

No customer shall install or use water consumption apparatus, which will affect the Conway Village Fire District pressure or operating conditions as to interfere with the service of another customer. Where a customer has or proposes to install apparatus, which requires water in sudden and/or material quantities, impairing pressure to the detriment, damage, or disadvantage of other customers, the CVFD reserves the right to require such customer to install such devices or apparatus which will confine such fluctuation of demand or reduction of pressure within reasonable limits as determined by the District

If the customer, after receiving written notice from the District, fails to present an acceptable remedial plan with a limit set by the District, service will be discontinued.

## Joint Use of a Trench

Water service pipes will not be placed in the same trench with gas pipes, electric wires or conduits, sewers or similar structures that would, in the opinion of the District, be harmful or unsafe except under special conditions and only with prior approval of the District.

## District Property

All gates, valves, shut-offs, mains and standpipes and service lines and curb stops which are the property of the District are not to be tampered with, nor opened or closed by any person other than an authorized employee of the District.

## Private Fire Protection

Customers desiring to install private fire protection systems shall first consult with the Fire Chief of the District as to availability of water mains and pressures etc. Approval of a private fire protection system shall be granted after submission of application and based upon submittal of a sprinkler designed by a licensed sprinkler designer/installer. Installations of the fire service shall be coordinated through the Superintendent of the District. Under his direction, the tap into the main, the gate valve and any related equipment shall be installed under the direction of the District and all costs shall be borne by the customer. However, once installed and in place, the tapping sleeve and/or gate shall become the property of the Fire District and become the property and be maintained solely by the Conway Village Fire District.

No private fire connection service is to be used for any purpose other than fire protection. No connection other than a fire connection will be allowed to be connected to the pipes of the fire protection system. All sprinklers, pipes, and other fire connections shall be so placed as to be readily inspected.

Charges for private fire protection services shall be an annual rate set by the Commissioners.

Private fire protection systems shall be designed by a certified/licensed designer.