Conway Village Fire District

A Village District in the Town of Conway, NH

128 West Main Street. Conway, NH 03818

Phone: 447-5470; Fax: 447-3271; Web: www.cvillagefd.com

This Institution is an Equal Opportunity Provider

WATER AND/OR WASTWATER SERVICE CHANGE OF USE PERMIT APPLICATION

Property Owner Information:

Name:  _________________________________________________

Mailing Address: ________________________________________

Town/State/Zip:  _________________________________________

Phone Number:  _________________________________________

Property Information:

Account Number: _______________________________________

Street Address:  __________________________________________

Map/Parcel Numbers:  _________________ / ___________________

Type of Project: (please check one)

New Construction____            Existing Structure____

Type of Structure: (please check one)

Residential____                             Commercial____

Water Construction Material/Information:

Pipe size:  3/4”____     1”____      2”____     4”____   6”____   Other____ (please explain in description)

Plastic/CTS____     Copper____   Ductile Iron Pipe ____   Other ______ (please explain in description)

Sewer Construction Material/Information: (please refer to attached spec. sheet)

Pipe size:  2” ____      4” ____      6” ____      Other____ (please explain in description)

Plastic/PVC____     SCH 40____   SDR 35 ____   Other ___ (please explain in description)

Lift Pumps/Grinding Station(s)_____ Other ______ (please explain in description)

Brief Description of Project:  _____________________________________________________

_____________________________________________________________________________

Have you applied for a building permit with the town?    YES__ NO___ (if yes date of application ___________)

Current number of living units/business offices ______________

Number of living units/business offices after completion of project _____________________

Current number of bathrooms ________________________

Number of bathrooms after completion of project _____________________

Have you read the Conway Village Fire District Rules & Regulations (available on our website under Water page, Board page, and the Sewer page.        Yes______ No_____

By signing this document, you acknowledge that you have read and will abide by the CVFD Water, Sewer, and General District Rules & Regulations.

If a new connection is required, prior to backfill, all construction must be inspected by a Conway Village Fire District certified inspector.

CVFD Inspector signature: _________________________________________________

Owner/Contractor agrees to abide by general construction and plumbing standards recognized by the Conway Village Fire District which includes, but is not limited to, NHDES Backflow/Cross Connection Protection, BOCA Plumbing Construction Standards, including Pressure Reducing Regulations, and the CVFD Water, Sewer, and General District Rules and Regulations.

Additional Connection: There is a connection fee of $1,000 for water and $2,300 for sewer (if applicable) that must be paid prior to commencement of any service.

By signing below, the property owner acknowledges that he/she is responsible for any charges incurred at this property regarding water and sewer and that they have read and understand the General, Water, and Sewer Rules & Regulations and that they and/or the contractor  have read and understand Article XIV of the District Water Rules and Regulations and Article XVII of the District Sewer Rules & Regulations (both attached).

____________________________________________

Printed Applicant Name

_____________________________________________        ______________

Applicant Signature                                                                  Date

Approved by Superintendant

____________________________________________         ________________

Superintendant’s Signature	                                                 Date

Office Use only

Payment of Connection Fee collected ____________________
Service commencement date __________________

|  | RESIDENTIAL |  | COMMERCIAL PROPERTIES WITH |
| --- | --- | --- | --- |
|  | Fixture Type | # of Fixtures |  | DISTINCT NEEDS SHOULD |  |
|  | Bathtubs |  |  | SPEAK WITH THE SUPERINTENDENT |
|  | Bathroom Sinks |  |  |  |  |  |  |
|  | 3/8" conn. |  |  |  |  |  |  |
|  | 12" conn. |  |  |  |  |  |  |
|  | Shower heads |  |  |  |  |  |  |
|  | Toilets |  |  |  |  |  |  |
|  | Flush valve |  |  |  |  |  |  |
|  | wall flush valve |  |  |  |  |  |  |
|  | Urinals |  |  |  |  |  |  |
|  | Pedal flush valve |  |  |  |  |  |  |
|  | Tank type |  |  |  |  |  |  |
|  | Kitchen sinks |  |  |  |  |  |  |
|  | 1/2" conn. |  |  |  |  |  |  |
|  | 3/4" conn. |  |  |  |  |  |  |
|  | Dishwasher |  |  |  |  |  |  |
|  | 1/2" conn. |  |  |  |  |  |  |
|  | 3/4" conn. |  |  |  |  |  |  |
|  | Washing machine |  |  |  |  |  |  |
|  | 1/2" conn. |  |  |  |  |  |  |
|  | 3/4" conn |  |  |  |  |  |  |
|  | 1" conn |  |  |  |  |  |  |
|  | Utility/Laundry sink |  |  |  |  |  |  |
|  | 1/2" conn. |  |  |  |  |  |  |
|  | 3/4" conn. |  |  |  |  |  |  |
|  | Exterior spigot |  |  |  |  |  |  |
|  | 1/2" conn. |  |  |  |  |  |  |
|  | 3/4" conn. |  |  |  |  |  |  |

# Article XIV. Building a Water Service Connection

## Applying for Water Service

Applications for water service must be made in writing on the forms provided at the Fire District Office. An acceptance by the District shall constitute a contract between the District and the applicant, obligating the customer to pay the established rates and charges and to comply with the rules and regulations.

The District reserves the right to determine the size and the location of any proposed water service.

Application will be subject to there being an existing main pipe in the street or right-of-way abutting the premises to be served. Acceptance shall in no way obligate the District to extend its mains to service the premises.

Application for water service will be accepted by the District from the owner of the premises only.

The District will be able to require that any new water or replacement service must have an approved ball-type shutoff valve installed at the owner at his expense. The corporation, service pipe, curb stop or property valve, rod and box will be furnished and installed by the District and will remain the property of the District.

## New Construction

- A Building Permit Application from the Town of Conway must be reviewed and signed by the Superintendent and Fire Chief prior to construction.

- The owner of the property or their licensed plumber is required to contact the District and obtain, complete, and submit a Water Connection/Report of Change Application.

- All work performed must be inspected by a District employee before backfilling is done.

- Meter purchase invoice and connection fees must all be paid in full before service will commence.

## Alteration of Property Piping

- No customer shall install any additions or alterations of any service pipes or private property plumbing additions or deletions without first notifying the District of the proposed changes.

- The owner of the property or their licensed plumber is required to contact the District and obtain, complete and submit a Water Connection/Report of Change Application.

- A Building permit and/or zoning application from the Town of Conway stating change and approval from Town must be reviewed and signed off by the Superintendent and Fire Chief.

  - Additional Connection fees may apply if additional services are required.

  - Additional Demand Fees may apply if additional meters are installed.

- All work performed must be inspected by a District employee before backfilling is done.

- All invoices and connection fees must be paid in full before service will commence.

## Installation, Ownership, and Maintenance

All service pipes, including the curb stop, shall be owned by the District; from the limits of the curb stop to the property will be owned by the property owner. Any maintenance from the curb stop to the property must be performed by the owner or agent.

Any defects in the installation or workmanship of the customer’s line that are found not to be in accordance with accepted District standards will be corrected; failure to do so in a timely manner will result in the water service being terminated after proper written notice.

All service pipes between the curb stop and the property will have a minimum ground cover of six feet or equivalent insulation. In the event that a line is less than 6 feet deep, appropriate insulation materials will be used to avoid freezing.

## Repair or Replacement of Service

The District will, if when making repairs or investigating any loss of water service, replace an existing service from the main pipe, to and including the curb stop, if it appears to the Superintendent that it is the best way to alleviate the problem. However, if any customer feels that their water services should be replaced, the customer will be required to pay whatever costs are realized in the replacement of same.

Installation for replacement service will include all or part of the following list:

- Tapping the main, if necessary

- Appropriately sized pipe and service tap from main to the curb stop

- Curb stop at or near the property line

- Appropriate excavation and restoration

## Material Specifications

METERS

- For single family homes, a T10 Neptune 5/8” meter with a re-setter, a check valve, and a shut-off installed by District specifications – purchased through the District.

- For other than single family homes, the District will perform a meter size evaluation to determine the appropriate meter size.

- Each meter will have a radio reader attached to the meter purchased through the District.

- Once meter is installed, A District employee must inspect the hook up.

- It is strongly recommended that an expansion tank be installed on the incoming cold-water line after the meter (interior plumbing side). It is also recommended that a pressure reduce be installed as well.

- This work must be done by a plumber as the District staff are not licensed plumbers.

- The District will only be responsible for the meter itself. All components around the meter are the property owner’s responsibility.

WATER MAINS

Pipes:

- Pipe shall meet or exceed current AWWA C151 specifications for Ductile Iron pipe.  Maximum length twenty (20) feet.

- Double cement lining, seal coating inside and bituminous outside coating shall meet or exceed AWWA C104.

- Push-on joints confirming to current AWWA 111.

- Pipe to be furnished complete with gaskets and lubricant.

- Certificate of Compliance to above-mentioned specifications must be supplied with shipment.  Certificates must be notarized by Notary Public or Justice of Peace.

- Class 52 required to size (6) through twenty-four (24) inch diameters.

Valves:

- For size six (6) through twelve (12) inch, valves shall be resilient seated with non-rising stem and conform to or exceed current AWWA C509 specifications.

- Directions to open – left

FITTINGS

- Fittings shall be Ductile Iron with mechanical joints and accessories and shall conform to or exceed current AWWA C113.

- Fitting to be new, unused and free from rust, coated and cement lined.

  - Ductile Iron – Class 350

  - Mechanical joints and accessories shall meet AWWA C111

  - Double cement lining, inside seal coating and bituminous outside coating shall meet AWWA C104.

VALVE BOXES

- Base:	48 inches

- Top:	5-1/4” x 36” with top flange (screw type not acceptable)

- Cover:	Marked “water”

- Only two-piece boxes acceptable

- Acceptable makes and models (American or Canadian made)

  - Standard valve box with top flange and belled base section, slide type

RESTRAINED JOINTS

- Retainer glands shall be used to restrain joints as necessary.

- Thrust blocks are acceptable behind hydrants and all ductile bends more than 11 degrees.

- Anchor tees are acceptable for use on hydrant branches to retain the hydrant branch valve.

- All retaining glands shall be U.L. approved and meet or exceed AWWA C111.

WATER SERVICE LINES

Plastic:

- Tubing shall be CTS (copper tube size) polyethylene (ASTM #2239).  Plastic tubing shall be a minimum 250 lb. class.  Compression fittings with stainless steel inserts shall be used.

Brass:

- All brass fittings shall meet or exceed AWWA C800 specifications.

- Acceptable manufacturers:  Mueller, Ford, and MacDonald

- Must be no lead

SERVICE FITTINGS

¾” and 1” Fittings

- All corporation threads shall be “CC” on the inlet and “CPPJ” on the outlet thread.

- All curb stops shall be ball valves.

2” Fittings

- All corporation threads shall be “CC” on the inlet and “CPPJ” on the outlet.

- All corporation and curb stops shall be ball valves.

CURB BOXES

- Erie style standard service box, appropriate length plug cover or two-hole cover.

- Appropriate size (single piece) rod, 1” upper shaft

HYDRANTS

- Acceptable make and model:  American Darling B84B

Features:

- Direction to open – left

- Breakable flange (traffic model)

- Valve opening at 5-1/4”

- 2 – 2 ½” NST hose nozzles

- 1 – 4 ½” NST pumper nozzle

- Operating nut and nozzle caps – NS #7 pentagon

- Depth as needed to meet grade

- Six (6) inch mechanical joint connection with accessories for 6.90 O.D.  Ductile Iron pipe

- Drain hole “Plugged”

- Shall meet or exceed C502

The Conway Village Fire District reserves the right to require a sample for evaluation of any supplied item.  Alternative items shall receive prior approval of the Superintendent and/or Water Department Foreman.  In any case, the Conway Village Fire District reserves the right to accept or reject any material to be used.

## Safeguarding Direct Pressure Water Devices & Systems Supplied by Automatic Feed Valves

All customers, having direct pressure water devices, including but not limited to hot water tanks, or secondary systems supplied by automatic feed valves shall have installed and maintained in the operating condition appropriate vacuum, temperature, and pressure relief valves or cutouts in the water system and/or secondary system or their appurtenances should it become necessary to shut off the water main or service or should a pressure failure occur for any other reason. Water service supplied to any customer not providing such protective devices will be strictly at the risk of the customer, and the Conway Village Fire District will not be held liable for damage resulting from the lack of or failure of such protective devices.

The Conway Village Fire District shall not be liable for damages to any hot water tank or direct pressure devices on the customer’s premises.

In cases requiring an immediate shut down of main piping due to emergency situations, the Conway Village Fire District shall make reasonable attempt to notify its customers, but lack of notification shall not cause Conway Village Fire District to be liable for damage of equipment inside the customer’s facility.

## Fluctuation of Pressures by Customer’s Apparatus

No customer shall install or use water consumption apparatus, which will affect the Conway Village Fire District pressure or operating conditions as to interfere with the service of another customer. Where a customer has or proposes to install apparatus, which requires water in sudden and/or material quantities, impairing pressure to the detriment, damage, or disadvantage of other customers, the CVFD reserves the right to require such customer to install such devices or apparatus which will confine such fluctuation of demand or reduction of pressure within reasonable limits as determined by the District

If the customer, after receiving written notice from the District, fails to present an acceptable remedial plan with a limit set by the District, service will be discontinued.

## Joint Use of a Trench

Water service pipes will not be placed in the same trench with gas pipes, electric wires or conduits, sewers or similar structures that would, in the opinion of the District, be harmful or unsafe except under special conditions and only with prior approval of the District.

## District Property

All gates, valves, shut-offs, mains and standpipes and service lines and curb stops which are the property of the District are not to be tampered with, nor opened or closed by any person other than an authorized employee of the District.

## Private Fire Protection

Customers desiring to install private fire protection systems shall first consult with the Fire Chief of the District as to availability of water mains and pressures etc. Approval of a private fire protection system shall be granted after submission of application and based upon submittal of a sprinkler designed by a licensed sprinkler designer/installer. Installations of the fire service shall be coordinated through the Superintendent of the District. Under his direction, the tap into the main, the gate valve and any related equipment shall be installed under the direction of the District and all costs shall be borne by the customer. However, once installed and in place, the tapping sleeve and/or gate shall become the property of the Fire District and become the property and be maintained solely by the Conway Village Fire District.

No private fire connection service is to be used for any purpose other than fire protection. No connection other than a fire connection will be allowed to be connected to the pipes of the fire protection system. All sprinklers, pipes, and other fire connections shall be so placed as to be readily inspected.

Charges for private fire protection services shall be an annual rate set by the Commissioners.

Private fire protection systems shall be designed by a certified/licensed designer.

# Article XVII - Building Sewers and Connections

- No person(s) shall uncover, make any connections with or opening into, use, alter, or disturb any public sewer or appurtenance thereof without first obtaining a written permit from the District.  After the Applicant has complied with the requirements of these rules and regulations set forth herein, the District shall issue the permit to the Applicant.

- There shall be two (2) classes of building sewer permits:

  - Residential/Commercial: users producing only domestic wastewater or 50 population units (5,000 gallons/day)

  - Industrial users: users who may be required to provide results of periodic tests upon request of the District. These tests shall be conducted at the user’s expense.

- Applications for sewer service must be made in writing on the form provided at the District Office. An acceptance by the Superintendent shall constitute a contract between the District and the applicant, obligating the customer to pay the established rates and charges and to comply with the rules and regulations. The permit application shall be supplemented by any plans, specifications, or other information considered pertinent in the judgment of the District. A Connection Fee for new construct shall be paid to the District at the time of application. At least half must be paid at the time of application with the remaining balance to be paid prior to commencement of service. Permits shall not be transferred or reassigned.

- Application for sewer service will be accepted from the owner of the premises only.

- All costs and expenses incidental to the installation and connection of sewer line shall be borne by the owner(s).  The owner(s) shall indemnify and hold harmless the District from any loss or damage that may directly or indirectly be occasioned by the installation of the sewer line when the owner(s) or their agents perform such work.

- A separate and independent sewer line shall be provided for every building; except where one building stands at the rear of another on an interior lot and no private sewer is available or can be constructed to the rear building through an adjoining alley, court, yard, or driveway, the front building sewer line may be extended to the rear building and the whole considered as one sewer line, but the District does not and will not assume any obligation or responsibility for damage caused by or resulting from any such single connection aforementioned.

- Sewers lines may, at the discretion of the District, be used in connection with new buildings only when they are found, after examination and testing by the District, to meet all requirements of these Rules and Regulations.

- The size, slope, alignment, materials of construction of a sewer line, and the methods to be used in excavating, placing of the pipe, jointing, testing, and backfilling the trench, shall all conform to the requirements of the building and plumbing code or other applicable rules and regulations of the District, Town of Conway, and/or the State and shall be noted on the submitted plans. In the absence of code provisions or in amplification thereof, the materials and procedures set forth in appropriate specifications of the ASTM, WEF Manual of Practice No. 9, and/or Division Standards of Design for Sewerage and Wastewater Facilities shall apply. In addition, 6-inch diameter at grade cleanouts shall be required at the property line, the structure, and street connection and every 200 feet of the connection whenever the connection exceeds 100 feet from the street to the structure.

- Whenever possible, the sewer line shall be brought to the building at an elevation below the basement floor. In all buildings in which any building drain is too low to permit gravity flow to the public sewer, sanitary sewage carried by such building drain shall be lifted by means approved by the District and discharged to the building sewer at the owner's expense.

- No person(s) shall make connection of roof downspouts, foundation drains, areaway drains, sump pumps, or other sources of surface runoff or groundwater to a building sewer or building drain which in turn is connected directly or indirectly to a public sanitary sewer.

- The connection of the sewer line into the public sewer shall conform to the latest editions of the requirements of the building and plumbing code, State of New Hampshire regulations Env-Ws 700, or other applicable rules and regulations of the District, or the procedures set forth in appropriate specifications of the ASTM, ASCE manuals of engineering practice, WEF Manual of Practice No. 9 or No. FD-5, and/or Division Standards of Design for Sewerage and Wastewater Facilities. All such connections shall be made gastight and watertight and verified by proper testing.  Any deviation from the prescribed procedures and materials must be approved by the District before installation.

- The Applicant for the sewer connection permit shall notify the District when the sewer line is ready for inspection and connection to the public sewer. The connection and testing shall be made under supervision of the District.

- All excavations for sewer line installation shall be adequately guarded with barricades and lights so as to protect the public from hazards.  Streets, sidewalks, parkways, and other public property disturbed in the course of the work shall be restored in a manner satisfactory to the District at the owner's expense when the owner(s) or their agents perform such work.

- Any person proposing a new discharge into the system or an increase in the volume, beyond limits previously permitted, or in the strength or character of pollutants that are discharged into the system, shall make application to the District for a modification of their permit at least sixty (60) days prior to the proposed change or connection.  No person shall operate with such an increase or change without first having applied for and received a modification to their permit.

- Proposed new discharges from residential or commercial sources involving loading exceeding 50 population equivalents (5,000 gpd), any new industrial discharge or any alteration in either flow or waste characteristics in industrial discharge shall require prior approval by the District and the Division.